In-Door Return Air Pathway (R.A.P.)

PERFECT BALANCE

www.tamtech.com ● (800) 222 - 5932

| Outside Dimensions Specifications |  |
| --- | --- |
| Product Length: | 27 ¼” |
| Grille Length: | 25” |
| Height: | 4 ¾” |
| Depth: | 1 5/8” |
| Color: | White (Paintable) |
| Fits doors 1 3/8” thick only. Rough Opening 24 ½” x 4” |  |
| CFM @ 5 Pascals…...136 CFM |  |

| Part # | Qty | Shipping Dimensions | Act Wt (lbs./oz.) | Dim Wt (lbs.) | Individually Boxed |
| --- | --- | --- | --- | --- | --- |
| TTi-RAP-Di | 1 | 28 x 5 x 2 | 1.7 | 2 | Yes |
| TTi-RAP-D3 | 3 | 28 x 5 x 6.5 | 4.5 | 5 | Yes |
| TTi-RAP-D18 | 18 | 28 x 22 x 10 | 27.2 | 38 | Yes |
| TTi-RAP-D25 | 25 | 28 x 22 x 10 | 27.2 | 38 | No-Bulk |

In-Door Return Air Pathway (R.A.P.)

The R.A.P. is the inexpensive alternative to costly jump ducts or dedicated room fresh air returns.

- Eliminates pressure imbalances

- Allows HVAC systems to run more efficiently and reduce energy consumption

- Inexpensive, easy to install, no moving parts

- Durable, high impact ABS plastic

- Made in the USA

- Improved bathroom fan performance